Prompt given :

Prepare a test strategy document for a medical cardio vascular application, having ivus and FM modality . via chain of thought approach

Output from the Model:

1. Overview

This document outlines the test strategy for a medical cardiovascular application integrating Intravascular Ultrasound (IVUS) and Fractional Flow Reserve (FM) modalities. The application is critical for diagnosing vascular diseases, requiring rigorous testing to ensure safety, accuracy, and compliance with regulatory standards.

2. Objectives

- Validate functional correctness of IVUS and FM modalities.

- Ensure system performance under real-world clinical conditions.

- Confirm compliance with regulatory standards (e.g., ISO 13485, FDA, HIPAA).

- Identify risks and mitigate potential failures impacting patient safety.

3. Scope

- Functional Scope:

  - IVUS: Image acquisition, processing, real-time visualization, and data export.

  - FM: Pressure measurement accuracy, data synchronization with IVUS, and diagnostic reporting.

- Non-Functional Scope:

  - Performance (latency, resolution), usability, security, and scalability.

  - Regulatory compliance and interoperability with hospital systems (e.g., EMR).

4. Test Approach

4.1 Testing Phases

- Unit Testing:

  - Validate individual components (e.g., IVUS image processor, FM pressure sensor interface).

  - Tools: JUnit for code-level tests, hardware-in-the-loop (HIL) for sensor validation.

- Integration Testing:

  - Ensure seamless interaction between IVUS and FM modalities (e.g., synchronized image-pressure data).

  - Simulate clinical workflows to test data flow and system integration.

- System Testing:

  - Full system validation using simulated vascular models and clinical scenarios.

  - Test edge cases (e.g., catheter blockage, sudden pressure drops).

- Acceptance Testing:

  - Conduct clinical trials with cardiologists to validate usability and diagnostic accuracy.

4.2 Test Types

- Functional Testing:

  - IVUS: Image resolution, artifact handling, real-time rendering.

  - FM: Pressure measurement accuracy, response time, alarm thresholds.

- Non-Functional Testing:

  - Performance: Stress test under high-resolution imaging and multi-patient data loads.

  - Security: Encryption, access controls, and audit trails for HIPAA compliance.

  - Usability: Clinician feedback on interface design and workflow efficiency.

4.3 Test Environment

- Hardware: IVUS catheter, FM pressure sensor, simulated vascular phantom.

- Software: Clinical data simulators, EMR integration tools, secure test servers.

- Tools: JIRA for defect tracking, Selenium for UI automation, MATLAB for signal validation.

5. Risk Management

- Critical Risks:

  - Incorrect IVUS image interpretation leading to misdiagnosis.

  - FM pressure measurement errors causing false-positive blockage reports.

- Mitigation:

  - Implement redundancy checks (e.g., cross-validation with gold-standard methods).

  - Use clinical benchmarks for calibration and validation.

6. Regulatory Compliance

- Standards: ISO 13485 (quality management), FDA 21 CFR Part 11 (electronic records), HIPAA (data privacy).

- Documentation: Maintain traceability matrices linking requirements to test cases.

7. Test Deliverables

- Test Plan: Detailed schedule and resource allocation.

- Test Cases/Scripts: Functional and non-functional scenarios (e.g., IVUS image resolution test).

- Test Logs: Execution records and defect reports.

- Test Summary Report: Pass/fail status, risk analysis, and compliance certification.

8. Roles and Responsibilities

- QA Team: Execute tests, report defects, and validate fixes.

- Clinical Experts: Review diagnostic accuracy and usability.

- Regulatory Team: Ensure compliance with FDA/ISO requirements.

9. Timeline

- Unit Testing: Weeks 1–4.

- Integration Testing: Weeks 5–8.

- System Testing: Weeks 9–12.

- Acceptance Testing: Weeks 13–16.

10. Conclusion

This strategy ensures the application meets clinical and regulatory standards while prioritizing patient safety. Iterative testing and stakeholder collaboration are critical to addressing complex medical requirements.

Appendix: Sample Test Cases

- IVUS Test Case: Verify image resolution at 0.1mm depth using a simulated arterial model.

- FM Test Case: Validate pressure measurement accuracy against a calibrated reference sensor.